## Slide 1
PROJECT
PRODUCT

## Slide 2: State of the art

## Slide 3: Our Implementation

## Slide 4: Challenges faced
ECG Sensor: The ECG sensor AD8232 is the cheapest available sensor. Hence, it possess poor Signal-To-Noise ratio.
Solution: We used a couple of curve fitting algorithms along with band pass filters.
Electrodes: Disposable electrodes. Need to be attached to chest every time, thereby making the signal acquisition tedious.
Solution: Dry electrodes can be used.
Time: Signal Acquisition time of 10 seconds is not feasible.
Solution: Algorithm optimization and efficient feature extraction.
Finally, employing the use of BMD 101 ECG sensor; the hardware size
can be reduced to that of a wearable.

## Slide 5: Available alternatives

## Slide 7: In the News..

## Slide 10
Any Questions?